## Slide 1
INNOVATIVE INJECTION TECHNOLOGIES
Rather than harsh reservoir fracking for improving injectivity, the innovation is to utilize the gentle and low-cost cold-fluid injection and CO2 (re)injection techniques to overcome low injectivity.
TEMPERATURE OPTIMIZATION
Injecting a cold fluid in a hot reservoir can (soft-)stimulate the reservoir injectivity. The P/T changes due to cold injection may cause (re-)opening of fractures and hence enhance injectivity. Meanwhile further T decrease may enhance scaling and induce seismicity. THMC modelling and field tests are needed to optimize the injection temperature and balance the positive and negative affects.
CO2/pH control
Gasses (CH4 and CO2) co-produced with the geothermal water are commonly degassed in surface installations of geothermal doublets. The release of CO2 increases the pH which may lead to precipitation of calcite scales. Re-injection of CO2 or acidizing the water can prevent calcite scaling and even cause carbonates to dissolve in the well-near region thus increasing the injectivity of the reservoir.
Improving Geothermal System Performance Through Collective Knowledge Building and Technology Development
Laura Wasch (TNO), Raymond Creusen (WUR), Florian Eichinger (HI), Tanya Goldberg (GFZ), Claus Kjoller (GEUS), Simona Regenspurg (GFZ), Troels Mathiesen (FORCE Technology), Pejman Shoeibi Omrani (TNO) and Viola van Pul-Verboom (TNO)
Contact: Laura.wasch@tno.nl
ACKNOWLEDGEMENTS
This project has been subsidized through the ERANET Cofund GEOTHERMICA (Project no. 731117), from the European Commission, Topsector Energy subsidy from the Ministry of Economic Affairs of the Netherlands, Federal Ministry for Economic Affairs and Energy of Germany and EUDP
INTRODUCTION
Despite years of experience with geothermal systems, the geothermal sector still faces a significant number of underperforming doublets, posing a strong limitation on the growth of geothermal energy utilization.
A key operational challenge in geothermal energy production is restricted flow. Major obstacles for flow are scaling (mineral deposition), clogging (solid particle deposition), corrosion and inefficient injection strategies. These issues result in high and mostly unforeseen costs for workovers and additionally reduced energy production.
The overarching objective of the PERFORM project is to improve geothermal system performance, lower operational expenses and extend the life-time of infrastructure by the concept of combining data collection, predictive modelling and innovative technology development of new/improved, cost-effective methods for scaling prevention and injectivity improvement.
Fig1: The cycle of production and injection of geothermal water for electricity production and greenhouse heating, optimized with innovative technologies developed in the PERFORM project.
PROJECT METHODOLOGIES
1 Establish a single knowledge database and web application containing information on operational, chemical and physical aspects of geothermal energy production from seven sites: Pijnacker Nootdorp (NL), Honselersdijk (NL), Gross Schönebeck (DE), Insheim (DE), Oberlaa (AT), Thisted Varmeforsyning (DK), Sønderborg Fjernvarme (DK) and Margretheholm (DK).
2 Building integrated predictive models of thermo-hydro-mechanical-chemical (THMC) processes is key to enable long-term doublet performance by providing forecasts for scaling, productivity and injectivity and supporting early warning and planning of scaling mitigation and injectivity improvement measures.
3 Performing experiments and field tests of innovative technologies is paramount reduce flow-obstructive scaling, corrosion and clogging and to prevent issues with fluid (re-)injection in the reservoir. Experiments include batch and flow loop set-ups, bypasses in geothermal systems and full field tests.
4 Designing an operational advice toolbox enables geothermal operators and stakeholders to plan future operations, mitigate obstructions, and optimise production/injection procedures, to ensure maximum energy production.
INNOVATIVE PRODUCTION
TECHNOLOGIES
Rather than using costly and environmentally harmful chemicals for scaling inhibition, the innovation is to selectively remove problematic elements and particles from the thermal water.
Cation Filter
Uncontrolled precipitation can be avoided if the cations of scale minerals are removed from the water by sorption techniques to concentrations below mineral saturation. Three materials are selected, all well known for their high sorption capacity for heavy metal removal: Zeolites, Chitosan and Fe-oxides. Calcite will be removed by specific particles (FACT system).
H2S removal by flocculation
A new and promising technique of H2S removal is via addition of Fe(II) chloride. The reaction between Fe(II) and sulphide results in the precipitation of pyrite (FeS2) which can be readily removed from the fluid by above ground particle filtration.
Particle Filters
Self-cleaning, cost-efficient particle filter systems will be advanced towards geothermal utilization. The filters will reduce operational costs by having less shut-down times for cleaning and replacing while at the same time diminishing wastewater.